	FORM AB1: BTEC ASSIGNMENT BRIEF

QCF ASSIGNMENT FRONT SHEET
	[image: image1.png]





	

	Qualification
	Unit number and title

	BTEC Level 3 Extended Diploma in Electrical/Electronic Engineering LuL
	Unit 51 – Electrical Technology

	Learner name
	   Assessor name

	Ashley Alfonso
	Jim Gillain/Rakia Hamden

	Date issued
	 Hand in deadline
	Submitted on

	12/02/2018
	17/02/2018
	

	
	

	Assignment title
	Assignment 1 – Conductors Insulators and Magnets

	In this assessment you will have opportunities to provide evidence against the following criteria. 
Indicate the page numbers where the evidence can be found.


	Criteria reference
	To achieve the criteria the evidence must show that the learner is able to:
	
	Task no.
	
	Evidence

	P5
	Describe the properties and a typical application of a solid, and a liquid or gas, electrical conductor
	
	1
	
	

	P6
	Describe the properties and a typical application of a solid, and a liquid or gas, electrical insulator
	
	2
	
	

	P7
	Describe the properties and an application of two different magnetic materials commonly used in electrical and electronic engineering
	
	3
	
	

	
	
	
	
	
	


	Learner declaration

	I certify that the work submitted for this assignment is my own. I have clearly referenced any sources used in the work. I understand that false declaration is a form of malpractice.
Student signature: 
                                                                    Date: 


Assignment Brief

	

	Assignment title
	Conductors Insulators and Magnets

	Purpose of this assignment is that you can demonstrate knowledge of two from each list:
Conductors: properties e.g. conductivity, resistivity, tensile strength, rigidity; electrical applications of solid conducting materials e.g. copper, aluminium, steel, brass, carbon, soil (for Earth continuity); applications of liquids and gases e.g. electrolytes, fluorescent and discharge lighting

Insulators: properties e.g. resistivity, maximum voltage capability, operating temperatures, mechanical strength; applications of solid, liquid and gas insulating materials e.g. poly-vinyl-chloride (PVC), butyl-rubber, glass, paper, oil, air

Magnetic materials: properties e.g. retentivity, coercivity, B-H curve, hysteresis, iron losses; electro-magnetic applications e.g. permanent magnets, electromagnets, soft iron, silicon steel, mu-metal, ferrites for use at audio and high frequencies

	Task
	This provides evidence for

	Task 1 Select one solid and one liquid or gas conductor from the list above.  For each of them describe their properties in terms of: conductivity, resistivity, tensile strength and rigidity.  Then give an example of an electrical use for of each of them. 

State which of its properties makes them suitable for its electrical use.
	P5

	Task 2 From the list of insulators above select one solid and one liquid or gas.  Describe it in terms of resistivity, maximum or breakdown voltage, operating temperature and mechanical strength.  
Give an example of where each one is used and state which of its properties makes it useful for the purpose.
	P6

	Task 3 Describe the use of devices with soft iron cores, e.g., relays, electric motor and generator armatures, etc., using words from the “Magnetic materials” section above.
Sketch the B-H curves (hysteresis loop) of a soft iron material that might be used for a mains power transformer.  Sketch the B-H curves for a ferrite material.  Make sure you label your graph axes properly.

Now use the curves to show what would be a good use for each of them.
	P7


